Supplementary Table S1. City-level climate characteristics and system performance metrics for all analyzed EPW locations

All metrics correspond to the summer daytime evaluation window (June–August, 10:00–18:00). PV generation is normalized per 1 m² of installed PV area, while water use and electrical load are reported per module. Climate archetypes were assigned using k-means clustering of standardized summer climate variables.

| City / EPW station | EPW file | Latitude (°) | Longitude (°) | Altitude (m) | Mean Ta (°C) | P95 Ta (°C) | Mean RH (%) | Mean wind speed (m s⁻¹) | Mean GHI (W m⁻²) | Misting duration (h) | Water use (L module⁻¹) | PV energy (Wh m⁻² PV) | Load energy (Wh module⁻¹) | PV-to-load autonomy (–) | Battery capacity (kWh) | Battery full-pump runtime (h) | Climate archetype |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Adana-Incirlik.AB | TUR_AA_Adana-Incirlik.AB.173500_TMYx.2009-2023.epw | 37.001 | 35.418 | 72.50 | 32.88 | 36.33 | 47.13 | 5.08 | 652.40 | 529.00 | 19799.05 | 87491.80 | 45894.03 | 1.91 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Adapazari | TUR_SK_Adapazari.170690_TMYx.2009-2023.epw | 40.783 | 30.417 | 30.00 | 28.20 | 34.15 | 57.98 | 2.25 | 619.66 | 91.00 | 3592.77 | 83910.83 | 9502.94 | 8.83 | 1.00 | 4.00 | Temperate Coastal |
| Adiyaman | TUR_AD_Adiyaman.172650_TMYx.2009-2023.epw | 37.750 | 38.283 | 672.00 | 35.05 | 40.30 | 20.88 | 1.39 | 708.79 | 579.00 | 38733.51 | 91005.72 | 85640.81 | 1.06 | 1.00 | 4.00 | Hot–Dry Inland |
| Agri | TUR_AG_Agri.170990_TMYx.2009-2023.epw | 39.733 | 43.050 | 1632.00 | 26.82 | 32.42 | 38.06 | 2.52 | 682.70 | 68.00 | 2354.24 | 89240.27 | 6784.66 | 13.15 | 1.00 | 4.00 | Semi-Arid Plateau |
| Aksaray | TUR_AK_Aksaray.171920_TMYx.2009-2023.epw | 38.371 | 33.999 | 961.00 | 28.13 | 34.52 | 26.48 | 2.41 | 698.94 | 101.00 | 4752.39 | 94417.05 | 11978.82 | 7.88 | 1.00 | 4.00 | Semi-Arid Plateau |
| Aksehir | TUR_KO_Aksehir.172390_TMYx.2009-2023.epw | 38.369 | 31.430 | 1002.00 | 27.31 | 34.00 | 33.87 | 1.57 | 666.60 | 101.00 | 4328.06 | 89435.87 | 11094.79 | 8.06 | 1.00 | 4.00 | Semi-Arid Plateau |
| Amasya | TUR_AM_Amasya.170850_TMYx.2009-2023.epw | 40.650 | 35.850 | 412.00 | 28.95 | 36.42 | 42.36 | 2.40 | 579.01 | 195.00 | 8935.84 | 78502.97 | 21258.33 | 3.69 | 1.00 | 4.00 | Temperate Coastal |
| Ankara-Esenboga.AP | TUR_AN_Ankara-Esenboga.AP.171280_TMYx.2009-2023.epw | 40.128 | 32.995 | 952.50 | 26.90 | 33.12 | 30.38 | 3.83 | 645.73 | 88.00 | 3537.63 | 88444.83 | 9370.06 | 9.44 | 1.00 | 4.00 | Semi-Arid Plateau |
| Ankara-Etimesgut.AP | TUR_AN_Ankara-Etimesgut.AP.171290_TMYx.2009-2023.epw | 39.950 | 32.689 | 808.60 | 28.51 | 35.00 | 29.44 | 3.58 | 660.01 | 177.00 | 7974.97 | 89655.82 | 19148.52 | 4.68 | 1.00 | 4.00 | Semi-Arid Plateau |
| Antalya-Bolge | TUR_AL_Antalya-Bolge.173020_TMYx.2009-2023.epw | 36.885 | 30.683 | 47.00 | 30.53 | 36.73 | 44.46 | 2.59 | 702.04 | 214.00 | 10554.77 | 92553.57 | 24745.11 | 3.74 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Ardahan | TUR_AR_Ardahan.170460_TMYx.2009-2023.epw | 41.117 | 42.717 | 1829.00 | 21.18 | 28.20 | 53.71 | 1.51 | 597.62 | 4.00 | 149.42 | 80392.46 | 1807.30 | 44.48 | 1.00 | 4.00 | Humid Black Sea |
| Artvin | TUR_AV_Artvin.170450_TMYx.2009-2023.epw | 41.183 | 41.817 | 628.00 | 24.18 | 32.70 | 62.64 | 3.19 | 548.01 | 48.00 | 1911.10 | 73372.70 | 5741.45 | 12.78 | 1.00 | 4.00 | Humid Black Sea |
| Aydin | TUR_AY_Aydin.172340_TMYx.2009-2023.epw | 37.850 | 27.850 | 56.00 | 33.67 | 39.10 | 29.28 | 1.45 | 714.84 | 526.00 | 29139.79 | 92236.76 | 65335.90 | 1.41 | 1.00 | 4.00 | Hot–Dry Inland |
| Ayvalik | TUR_BU_Ayvalik.171750_TMYx.2009-2023.epw | 39.300 | 26.700 | 4.00 | 30.03 | 34.50 | 54.71 | 2.94 | 711.65 | 198.00 | 6548.14 | 94913.09 | 16301.96 | 5.82 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Balikesir-Merkez.Havalimani.AP | TUR_BK_Balikesir-Merkez.Havalimani.AP.171500_TMYx.2009-2023.epw | 39.617 | 27.917 | 103.60 | 29.75 | 35.00 | 40.81 | 6.20 | 669.07 | 201.00 | 8107.79 | 90808.77 | 19569.23 | 4.64 | 1.00 | 4.00 | Cold Continental Highland |
| Bandirma.AP | TUR_BK_Bandirma.AP.171150_TMYx.2009-2023.epw | 40.316 | 27.972 | 51.80 | 27.47 | 31.00 | 53.36 | 7.06 | 640.81 | 22.00 | 698.46 | 89943.73 | 3059.12 | 29.40 | 1.00 | 4.00 | Cold Continental Highland |
| Bartin | TUR_BR_Bartin.170200_TMYx.2009-2023.epw | 41.633 | 32.333 | 33.00 | 27.37 | 31.00 | 62.38 | 2.20 | 610.94 | 6.00 | 186.65 | 83511.23 | 1896.85 | 44.03 | 1.00 | 4.00 | Humid Black Sea |
| Batman.AP | TUR_BM_Batman.AP.172820_TMYx.2009-2023.epw | 37.933 | 41.117 | 555.30 | 36.39 | 41.50 | 18.31 | 2.53 | 745.06 | 631.00 | 48260.26 | 92536.18 | 105800.20 | 0.87 | 1.00 | 4.00 | Hot–Dry Inland |
| Bayburt | TUR_BB_Bayburt.170890_TMYx.2009-2023.epw | 40.250 | 40.233 | 1584.00 | 24.71 | 32.62 | 30.40 | 2.02 | 687.85 | 49.00 | 2199.40 | 90669.47 | 6348.08 | 14.28 | 1.00 | 4.00 | Semi-Arid Plateau |
| Bilecik | TUR_BC_Bilecik.171200_TMYx.2009-2023.epw | 40.150 | 29.968 | 539.00 | 27.38 | 33.62 | 47.09 | 2.47 | 626.69 | 93.00 | 3998.70 | 84679.08 | 10360.62 | 8.17 | 1.00 | 4.00 | Temperate Coastal |
| Bingol | TUR_BG_Bingol.172030_TMYx.2009-2023.epw | 38.885 | 40.501 | 1177.00 | 31.19 | 36.50 | 21.30 | 1.09 | 740.79 | 372.00 | 19565.46 | 93700.58 | 44465.38 | 2.11 | 1.00 | 4.00 | Hot–Dry Inland |
| Bodrum | TUR_MG_Bodrum.172900_TMYx.2009-2023.epw | 37.033 | 27.440 | 61.60 | 27.46 | 33.00 | 70.21 | 3.06 | 738.66 | 18.00 | 550.26 | 98777.60 | 2726.38 | 36.23 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Bolu | TUR_BL_Bolu.170700_TMYx.2009-2023.epw | 40.734 | 31.602 | 743.00 | 24.82 | 31.93 | 56.42 | 2.09 | 622.72 | 37.00 | 1327.56 | 85263.93 | 4459.75 | 19.12 | 1.00 | 4.00 | Humid Black Sea |
| Bozcaada | TUR_CK_Bozcaada.171110_TMYx.2009-2023.epw | 39.833 | 26.067 | 30.00 | 26.03 | 29.00 | 57.42 | 6.51 | 713.90 | 0.00 | 0.00 | 98558.60 | 1472.00 | 66.96 | 1.00 | 4.00 | Cold Continental Highland |
| Bursa.AP | TUR_BU_Bursa.AP.171160_TMYx.2009-2023.epw | 40.231 | 29.013 | 100.00 | 28.83 | 34.95 | 51.84 | 3.38 | 636.82 | 166.00 | 6477.95 | 85809.21 | 15963.72 | 5.38 | 1.00 | 4.00 | Temperate Coastal |
| Canakkale | TUR_CK_Canakkale.171120_TMYx.2009-2023.epw | 40.141 | 26.399 | 7.00 | 28.45 | 33.00 | 49.15 | 4.58 | 692.09 | 123.00 | 4088.27 | 93931.23 | 10727.22 | 8.76 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Cankiri | TUR_CI_Cankiri.170800_TMYx.2009-2023.epw | 40.600 | 33.617 | 751.00 | 28.51 | 36.83 | 32.05 | 2.08 | 634.67 | 164.00 | 8683.09 | 85935.76 | 20545.77 | 4.18 | 1.00 | 4.00 | Temperate Coastal |
| Cengiz-Topel.AP | TUR_KC_Cengiz-Topel.AP.172005_TMYx.2009-2023.epw | 40.735 | 30.083 | 55.50 | 27.27 | 32.00 | 59.87 | 3.26 | 617.79 | 51.00 | 1658.77 | 84306.43 | 5233.77 | 16.11 | 1.00 | 4.00 | Humid Black Sea |
| Cesme | TUR_IZ_Cesme.172210_TMYx.2009-2023.epw | 38.304 | 26.372 | 5.00 | 28.30 | 31.20 | 56.81 | 2.56 | 743.30 | 10.00 | 311.65 | 98968.19 | 2181.27 | 45.37 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Cigli.AB | TUR_IZ_Cigli.AB.172180_TMYx.2009-2023.epw | 38.513 | 27.014 | 4.90 | 32.08 | 37.00 | 37.51 | 5.93 | 718.41 | 429.00 | 18512.19 | 95749.43 | 42613.06 | 2.25 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Cihanbeyli | TUR_KO_Cihanbeyli.171910_TMYx.2009-2023.epw | 38.651 | 32.922 | 969.00 | 29.14 | 34.83 | 27.55 | 2.86 | 696.65 | 139.00 | 6210.80 | 93657.05 | 15245.17 | 6.14 | 1.00 | 4.00 | Semi-Arid Plateau |
| Corlu | TUR_TG_Corlu.170540_TMYx.2009-2023.epw | 41.133 | 27.917 | 160.00 | 27.65 | 32.00 | 51.11 | 6.92 | 646.02 | 58.00 | 1810.27 | 89382.90 | 5591.39 | 15.99 | 1.00 | 4.00 | Cold Continental Highland |
| Corum | TUR_CM_Corum.170840_TMYx.2009-2023.epw | 40.546 | 34.936 | 776.00 | 27.01 | 33.50 | 37.96 | 2.62 | 625.59 | 85.00 | 3842.47 | 85830.51 | 9987.14 | 8.59 | 1.00 | 4.00 | Temperate Coastal |
| Dalaman.AP | TUR_MG_Dalaman.AP.172950_TMYx.2009-2023.epw | 36.723 | 28.790 | 6.10 | 29.75 | 34.25 | 56.53 | 5.84 | 715.88 | 148.00 | 5330.34 | 96170.66 | 13464.88 | 7.14 | 1.00 | 4.00 | Cold Continental Highland |
| Datca | TUR_MG_Datca.172970_TMYx.2009-2023.epw | 36.708 | 27.692 | 28.00 | 27.94 | 32.00 | 76.19 | 3.27 | 743.78 | 3.00 | 92.20 | 99064.39 | 1682.08 | 58.89 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Denizli | TUR_DN_Denizli.172370_TMYx.2009-2023.epw | 37.762 | 29.092 | 425.00 | 31.91 | 37.40 | 26.88 | 1.67 | 699.81 | 388.00 | 20895.81 | 90903.59 | 47332.93 | 1.92 | 1.00 | 4.00 | Hot–Dry Inland |
| Dikili | TUR_IZ_Dikili.171800_TMYx.2009-2023.epw | 39.074 | 26.888 | 3.00 | 28.08 | 34.70 | 51.12 | 3.61 | 719.38 | 82.00 | 3317.51 | 96927.86 | 8875.48 | 10.92 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Diyarbakir.AP | TUR_DY_Diyarbakir.AP.172800_TMYx.2009-2023.epw | 37.897 | 40.202 | 686.10 | 35.84 | 40.70 | 16.58 | 3.67 | 743.72 | 662.00 | 46292.67 | 93297.98 | 101887.06 | 0.92 | 1.00 | 4.00 | Hot–Dry Inland |
| Duzce | TUR_DU_Duzce.170720_TMYx.2009-2023.epw | 40.833 | 31.167 | 146.00 | 26.69 | 33.50 | 62.35 | 1.33 | 619.30 | 65.00 | 2518.75 | 83800.26 | 7109.39 | 11.79 | 1.00 | 4.00 | Temperate Coastal |
| Edirne | TUR_ED_Edirne.170500_TMYx.2009-2023.epw | 41.677 | 26.551 | 51.00 | 30.54 | 36.02 | 39.95 | 2.25 | 620.68 | 275.00 | 11491.51 | 82600.49 | 27062.64 | 3.05 | 1.00 | 4.00 | Temperate Coastal |
| Elazig.AP | TUR_EG_Elazig.AP.172020_TMYx.2009-2023.epw | 38.606 | 39.297 | 892.10 | 32.80 | 38.00 | 23.08 | 3.87 | 742.91 | 487.00 | 26084.05 | 95126.22 | 58735.77 | 1.62 | 1.00 | 4.00 | Hot–Dry Inland |
| Erzincan.AP | TUR_EN_Erzincan.AP.170920_TMYx.2009-2023.epw | 39.716 | 39.525 | 1153.10 | 27.03 | 35.00 | 31.96 | 2.63 | 688.75 | 192.00 | 8571.22 | 90246.77 | 20480.71 | 4.41 | 1.00 | 4.00 | Semi-Arid Plateau |
| Erzurum.Bolge | TUR_EM_Erzurum.Bolge.170950_TMYx.2009-2023.epw | 39.906 | 41.254 | 1869.00 | 24.67 | 31.40 | 30.56 | 2.55 | 695.67 | 17.00 | 591.05 | 91778.14 | 2805.36 | 32.72 | 1.00 | 4.00 | Semi-Arid Plateau |
| Eskisehir-Anadolu.AP | TUR_ES_Eskisehir-Anadolu.AP.172006_TMYx.2009-2023.epw | 39.810 | 30.519 | 788.80 | 27.37 | 33.00 | 38.02 | 4.29 | 640.52 | 75.00 | 2980.99 | 86871.17 | 8132.40 | 10.68 | 1.00 | 4.00 | Semi-Arid Plateau |
| Eskisehir.AB | TUR_ES_Eskisehir.AB.171240_TMYx.2009-2023.epw | 39.781 | 30.580 | 786.70 | 27.25 | 33.00 | 36.24 | 3.34 | 653.40 | 82.00 | 3386.84 | 88383.86 | 9019.93 | 9.80 | 1.00 | 4.00 | Semi-Arid Plateau |
| Fethiye | TUR_MG_Fethiye.172960_TMYx.2009-2023.epw | 36.627 | 29.124 | 3.00 | 32.75 | 37.50 | 42.68 | 2.35 | 712.10 | 457.00 | 20258.50 | 92481.66 | 46419.22 | 1.99 | 1.00 | 4.00 | Hot–Dry Inland |
| Gaziantep-Oguzeli.AP | TUR_GA_Gaziantep-Oguzeli.AP.172600_TMYx.2009-2023.epw | 36.947 | 37.471 | 705.60 | 33.69 | 39.92 | 21.99 | 4.05 | 686.14 | 518.00 | 31592.69 | 90931.90 | 70398.11 | 1.29 | 1.00 | 4.00 | Hot–Dry Inland |
| Giresun | TUR_GI_Giresun.170340_TMYx.2009-2023.epw | 40.917 | 38.383 | 37.00 | 25.65 | 29.20 | 68.81 | 1.80 | 568.72 | 0.00 | 0.00 | 76266.47 | 1472.00 | 51.81 | 1.00 | 4.00 | Humid Black Sea |
| Gokceada.AP | TUR_CK_Gokceada.AP.171100_TMYx.2009-2023.epw | 40.203 | 25.884 | 72.00 | 27.76 | 32.30 | 60.85 | 4.37 | 664.15 | 21.00 | 634.72 | 93333.21 | 2920.34 | 31.96 | 1.00 | 4.00 | Cold Continental Highland |
| Golcuk-Dumlupinar | TUR_KC_Golcuk-Dumlupinar.170670_TMYx.2009-2023.epw | 40.727 | 29.807 | 18.00 | 28.98 | 33.20 | 51.02 | 2.87 | 641.94 | 120.00 | 4221.90 | 86882.90 | 10987.62 | 7.91 | 1.00 | 4.00 | Temperate Coastal |
| Gumushane | TUR_GU_Gumushane.170880_TMYx.2009-2023.epw | 40.467 | 39.467 | 1219.00 | 22.79 | 30.62 | 52.47 | 3.17 | 631.22 | 28.00 | 1195.74 | 84470.88 | 4131.13 | 20.45 | 1.00 | 4.00 | Humid Black Sea |
| Hakkari | TUR_HK_Hakkari.172850_TMYx.2009-2023.epw | 37.574 | 43.739 | 1728.00 | 27.11 | 33.00 | 27.94 | 2.01 | 725.74 | 122.00 | 4394.56 | 93173.24 | 11359.32 | 8.20 | 1.00 | 4.00 | Semi-Arid Plateau |
| Hatay | TUR_HT_Hatay.173725_TMYx.2009-2023.epw | 36.365 | 36.284 | 267.00 | 31.66 | 35.00 | 47.82 | 9.12 | 670.00 | 418.00 | 14839.41 | 91926.31 | 34895.44 | 2.63 | 1.00 | 4.00 | Cold Continental Highland |
| Igdir.Airport | TUR_IG_Igdir.Airport.171001_TMYx.2009-2023.epw | 39.983 | 43.867 | 946.00 | 30.76 | 36.00 | 31.98 | 3.55 | 690.37 | 310.00 | 12546.49 | 89452.98 | 29470.52 | 3.04 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Inebolu | TUR_KS_Inebolu.170240_TMYx.2009-2023.epw | 41.979 | 33.763 | 64.00 | 25.13 | 29.00 | 73.55 | 3.43 | 598.00 | 0.00 | 0.00 | 82981.04 | 1472.00 | 56.37 | 1.00 | 4.00 | Humid Black Sea |
| Iskenderun | TUR_HT_Iskenderun.173700_TMYx.2009-2023.epw | 36.592 | 36.158 | 7.60 | 29.97 | 32.20 | 61.88 | 3.24 | 662.55 | 63.00 | 1948.85 | 89315.49 | 5910.10 | 15.11 | 1.00 | 4.00 | Temperate Coastal |
| Isparta-Suleyman.Demirel.Univ.AP | TUR_IP_Isparta-Suleyman.Demirel.Univ.AP.172410_TMYx.2009-2023.epw | 37.855 | 30.368 | 864.10 | 29.43 | 34.00 | 32.16 | 4.57 | 694.84 | 232.00 | 8863.62 | 93113.97 | 21329.88 | 4.37 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Istanbul-Ataturk.AP | TUR_IB_Istanbul-Ataturk.AP.170600_TMYx.2009-2023.epw | 40.967 | 28.817 | 49.70 | 27.59 | 32.00 | 58.49 | 5.89 | 630.54 | 35.00 | 1062.62 | 87251.32 | 3895.79 | 22.40 | 1.00 | 4.00 | Cold Continental Highland |
| Istanbul.Bolge.Kartal-Goztepe | TUR_IB_Istanbul.Bolge.Kartal-Goztepe.170640_TMYx.2009-2023.epw | 40.901 | 29.152 | 18.00 | 28.04 | 32.83 | 59.07 | 2.07 | 623.38 | 78.00 | 2523.57 | 84476.94 | 7197.43 | 11.74 | 1.00 | 4.00 | Temperate Coastal |
| Izmir-Guzelyali | TUR_IZ_Izmir-Guzelyali.172200_TMYx.2009-2023.epw | 38.395 | 27.082 | 29.00 | 30.84 | 35.12 | 35.68 | 3.75 | 724.79 | 277.00 | 11392.52 | 96169.63 | 26868.41 | 3.58 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Izmit | TUR_KC_Izmit.170661_TMYx.2009-2023.epw | 40.767 | 29.900 | 76.00 | 28.72 | 35.20 | 57.42 | 2.05 | 613.53 | 122.00 | 4931.79 | 82969.62 | 12478.56 | 6.65 | 1.00 | 4.00 | Temperate Coastal |
| Kahramanmaras | TUR_KM_Kahramanmaras.172550_TMYx.2009-2023.epw | 37.600 | 36.933 | 721.00 | 33.71 | 40.33 | 23.93 | 4.25 | 676.35 | 502.00 | 30356.02 | 89299.86 | 67725.71 | 1.32 | 1.00 | 4.00 | Hot–Dry Inland |
| Kapodokya.AP | TUR_NV_Kapodokya.AP.171940_TMYx.2009-2023.epw | 38.767 | 34.533 | 945.00 | 28.96 | 36.00 | 27.13 | 4.08 | 683.28 | 178.00 | 8214.98 | 93072.31 | 19654.54 | 4.74 | 1.00 | 4.00 | Semi-Arid Plateau |
| Karabuk | TUR_KB_Karabuk.170780_TMYx.2009-2023.epw | 41.200 | 32.633 | 259.00 | 26.58 | 34.10 | 51.40 | 2.01 | 599.34 | 105.00 | 4046.66 | 81635.77 | 10532.54 | 7.75 | 1.00 | 4.00 | Temperate Coastal |
| Karaman | TUR_KR_Karaman.172460_TMYx.2009-2023.epw | 37.193 | 33.220 | 1023.00 | 27.53 | 32.83 | 27.13 | 2.68 | 712.40 | 80.00 | 3178.22 | 95881.41 | 8573.30 | 11.18 | 1.00 | 4.00 | Semi-Arid Plateau |
| Kars.AP | TUR_KA_Kars.AP.170980_TMYx.2009-2023.epw | 40.564 | 43.112 | 1795.00 | 23.22 | 29.00 | 44.62 | 4.33 | 657.77 | 1.00 | 30.00 | 88388.37 | 1540.50 | 57.38 | 1.00 | 4.00 | Humid Black Sea |
| Kastamonu | TUR_KS_Kastamonu.170740_TMYx.2009-2023.epw | 41.367 | 33.783 | 800.00 | 25.32 | 31.43 | 42.27 | 2.21 | 592.52 | 28.00 | 1099.23 | 81466.25 | 3930.07 | 20.73 | 1.00 | 4.00 | Humid Black Sea |
| Kilis | TUR_KI_Kilis.172620_TMYx.2009-2023.epw | 36.717 | 37.117 | 638.00 | 33.35 | 37.70 | 25.53 | 2.74 | 684.15 | 501.00 | 26486.72 | 90248.30 | 59658.67 | 1.51 | 1.00 | 4.00 | Hot–Dry Inland |
| Kirikkale | TUR_KK_Kirikkale.171350_TMYx.2009-2023.epw | 39.843 | 33.518 | 748.00 | 29.16 | 36.00 | 27.52 | 2.36 | 659.10 | 172.00 | 8902.98 | 88988.62 | 21051.87 | 4.23 | 1.00 | 4.00 | Semi-Arid Plateau |
| Kirklareli | TUR_KL_Kirklareli.170520_TMYx.2009-2023.epw | 41.733 | 27.233 | 232.00 | 28.48 | 33.00 | 45.98 | 2.23 | 631.26 | 91.00 | 3098.58 | 85041.21 | 8473.38 | 10.04 | 1.00 | 4.00 | Temperate Coastal |
| Kirsehir | TUR_KH_Kirsehir.171600_TMYx.2009-2023.epw | 39.164 | 34.156 | 1007.00 | 27.90 | 34.90 | 30.01 | 3.12 | 673.35 | 110.00 | 5441.78 | 91730.52 | 13469.03 | 6.81 | 1.00 | 4.00 | Semi-Arid Plateau |
| Konya-Eregli | TUR_KO_Konya-Eregli.172480_TMYx.2009-2023.epw | 37.526 | 34.049 | 1044.00 | 28.63 | 34.62 | 24.32 | 1.83 | 710.56 | 147.00 | 6539.92 | 95069.05 | 15978.83 | 5.95 | 1.00 | 4.00 | Semi-Arid Plateau |
| Konya.AP | TUR_KO_Konya.AP.172440_TMYx.2009-2023.epw | 37.984 | 32.574 | 1030.50 | 27.71 | 34.00 | 27.19 | 4.67 | 685.86 | 111.00 | 4735.49 | 93310.82 | 12003.60 | 7.77 | 1.00 | 4.00 | Semi-Arid Plateau |
| Kumkoy | TUR_IB_Kumkoy.170590_TMYx.2009-2023.epw | 41.250 | 29.033 | 30.00 | 26.83 | 30.60 | 63.97 | 2.12 | 646.11 | 0.00 | 0.00 | 88159.56 | 1472.00 | 59.89 | 1.00 | 4.00 | Humid Black Sea |
| Kusadasi | TUR_AY_Kusadasi.172320_TMYx.2009-2023.epw | 37.860 | 27.265 | 22.00 | 29.44 | 34.92 | 41.55 | 2.26 | 723.93 | 168.00 | 7015.90 | 95620.75 | 17096.45 | 5.59 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Kutahya | TUR_KU_Kutahya.171550_TMYx.2009-2023.epw | 39.417 | 29.967 | 969.00 | 26.23 | 33.50 | 39.59 | 2.17 | 656.40 | 70.00 | 3247.71 | 88381.80 | 8658.06 | 10.21 | 1.00 | 4.00 | Semi-Arid Plateau |
| Malatya-Bolge | TUR_ML_Malatya-Bolge.171990_TMYx.2009-2023.epw | 38.350 | 38.317 | 948.00 | 30.96 | 37.42 | 21.07 | 2.83 | 745.65 | 334.00 | 17151.32 | 95660.92 | 39207.92 | 2.44 | 1.00 | 4.00 | Hot–Dry Inland |
| Manisa | TUR_MN_Manisa.171860_TMYx.2009-2023.epw | 38.617 | 27.433 | 71.00 | 31.88 | 37.83 | 34.11 | 1.70 | 711.72 | 372.00 | 18740.91 | 92941.77 | 42747.56 | 2.17 | 1.00 | 4.00 | Hot–Dry Inland |
| Manisa.Industrial.Park | TUR_MN_Manisa.Industrial.Park.171865_TMYx.2009-2023.epw | 38.633 | 27.350 | 73.50 | 28.62 | 34.02 | 35.96 | 4.52 | 712.74 | 120.00 | 4700.68 | 95954.79 | 11985.09 | 8.01 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Mardin | TUR_MR_Mardin.172750_TMYx.2009-2023.epw | 37.310 | 40.728 | 1050.00 | 33.72 | 37.30 | 17.85 | 3.42 | 749.41 | 564.00 | 30931.41 | 94525.79 | 69296.43 | 1.36 | 1.00 | 4.00 | Hot–Dry Inland |
| Marmaris | TUR_MG_Marmaris.172980_TMYx.2009-2023.epw | 36.839 | 28.245 | 16.00 | 32.35 | 37.20 | 52.88 | 2.51 | 722.24 | 428.00 | 16592.41 | 94031.86 | 38607.52 | 2.44 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Mersin | TUR_IC_Mersin.173400_TMYx.2009-2023.epw | 36.781 | 34.603 | 3.00 | 30.48 | 33.10 | 60.84 | 1.93 | 654.39 | 201.00 | 6233.45 | 87266.74 | 15664.36 | 5.57 | 1.00 | 4.00 | Temperate Coastal |
| Milas-Bodrum.Intl.AP | TUR_MG_Milas-Bodrum.Intl.AP.172910_TMYx.2009-2023.epw | 37.251 | 27.664 | 11.00 | 33.03 | 39.00 | 37.64 | 6.15 | 729.38 | 487.00 | 23463.21 | 96609.15 | 53275.69 | 1.81 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Mugla | TUR_MG_Mugla.172920_TMYx.2009-2023.epw | 37.209 | 28.367 | 646.00 | 31.38 | 36.62 | 32.38 | 2.00 | 715.37 | 398.00 | 19027.59 | 93248.00 | 43500.81 | 2.14 | 1.00 | 4.00 | Hot–Dry Inland |
| Mus | TUR_MS_Mus.172040_TMYx.2009-2023.epw | 38.751 | 41.502 | 1320.00 | 29.02 | 34.25 | 24.92 | 0.67 | 743.83 | 198.00 | 8301.25 | 94653.75 | 19954.28 | 4.74 | 1.00 | 4.00 | Semi-Arid Plateau |
| Nevsehir | TUR_NV_Nevsehir.171930_TMYx.2009-2023.epw | 38.616 | 34.703 | 1260.00 | 25.89 | 32.73 | 30.46 | 2.30 | 671.80 | 51.00 | 2138.40 | 91957.13 | 6233.00 | 14.75 | 1.00 | 4.00 | Semi-Arid Plateau |
| Nigde | TUR_NG_Nigde.172500_TMYx.2009-2023.epw | 37.959 | 34.680 | 1210.00 | 26.81 | 32.52 | 29.21 | 2.87 | 693.70 | 60.00 | 2216.99 | 94273.71 | 6450.74 | 14.61 | 1.00 | 4.00 | Semi-Arid Plateau |
| Ordu | TUR_OR_Ordu.170330_TMYx.2009-2023.epw | 40.984 | 37.886 | 4.00 | 25.78 | 29.23 | 69.55 | 1.72 | 567.86 | 0.00 | 0.00 | 77688.70 | 1472.00 | 52.78 | 1.00 | 4.00 | Humid Black Sea |
| Osmaniye | TUR_OS_Osmaniye.173550_TMYx.2009-2023.epw | 37.102 | 36.254 | 94.00 | 31.54 | 36.20 | 43.54 | 3.69 | 669.96 | 353.00 | 14395.11 | 89637.17 | 33579.82 | 2.67 | 1.00 | 4.00 | Humid Mediterranean Coastal |
| Rize | TUR_RI_Rize.170400_TMYx.2009-2023.epw | 41.033 | 40.517 | 9.00 | 24.79 | 29.23 | 71.62 | 1.10 | 515.85 | 0.00 | 0.00 | 68504.53 | 1472.00 | 46.54 | 1.00 | 4.00 | Humid Black Sea |
| Sabiha-Gokcen.Intl.AP | TUR_IB_Sabiha-Gokcen.Intl.AP.170630_TMYx.2009-2023.epw | 40.898 | 29.303 | 99.00 | 27.48 | 32.02 | 57.52 | 6.04 | 621.52 | 63.00 | 2050.34 | 85780.21 | 6121.54 | 14.01 | 1.00 | 4.00 | Cold Continental Highland |
| Samsun | TUR_SS_Samsun.170300_TMYx.2009-2023.epw | 41.344 | 36.256 | 4.00 | 25.75 | 29.00 | 65.24 | 2.45 | 563.15 | 6.00 | 186.72 | 77995.50 | 1896.99 | 41.12 | 1.00 | 4.00 | Humid Black Sea |
| Sanliurfa | TUR_SU_Sanliurfa.172700_TMYx.2009-2023.epw | 37.160 | 38.787 | 549.00 | 35.82 | 40.12 | 20.29 | 1.92 | 721.61 | 629.00 | 43714.36 | 92527.56 | 96317.59 | 0.96 | 1.00 | 4.00 | Hot–Dry Inland |
| Sanliurfa.GAP.AP | TUR_SU_Sanliurfa.GAP.AP.172710_TMYx.2009-2023.epw | 37.445 | 38.904 | 822.00 | 33.44 | 38.23 | 19.77 | 4.46 | 710.24 | 534.00 | 31258.89 | 93409.64 | 69798.68 | 1.34 | 1.00 | 4.00 | Hot–Dry Inland |
| Sariyer | TUR_IB_Sariyer.170610_TMYx.2009-2023.epw | 41.133 | 29.067 | 58.00 | 25.89 | 30.10 | 66.93 | 5.53 | 640.42 | 4.00 | 128.05 | 89091.06 | 1762.77 | 50.54 | 1.00 | 4.00 | Cold Continental Highland |
| Siirt | TUR_SI_Siirt.172100_TMYx.2009-2023.epw | 37.932 | 41.935 | 896.00 | 34.52 | 38.70 | 17.32 | 1.88 | 746.19 | 593.00 | 38617.30 | 93045.82 | 85482.70 | 1.09 | 1.00 | 4.00 | Hot–Dry Inland |
| Silifke | TUR_IC_Silifke.173300_TMYx.2009-2023.epw | 36.382 | 33.937 | 15.00 | 31.79 | 34.62 | 55.85 | 1.21 | 680.83 | 403.00 | 13611.66 | 89464.73 | 32247.62 | 2.77 | 1.00 | 4.00 | Temperate Coastal |
| Sinop | TUR_SP_Sinop.170260_TMYx.2009-2023.epw | 42.030 | 35.154 | 32.00 | 25.61 | 29.00 | 69.23 | 3.55 | 589.98 | 0.00 | 0.00 | 82500.44 | 1472.00 | 56.05 | 1.00 | 4.00 | Humid Black Sea |
| Sirnak | TUR_SR_Sirnak.172821_TMYx.2009-2023.epw | 37.516 | 42.461 | 1351.00 | 37.57 | 42.00 | 17.28 | 4.10 | 750.92 | 665.00 | 55215.05 | 93177.25 | 120493.35 | 0.77 | 1.00 | 4.00 | Hot–Dry Inland |
| Sivas | TUR_SV_Sivas.170900_TMYx.2009-2023.epw | 39.744 | 37.002 | 1595.90 | 25.52 | 32.50 | 32.51 | 2.00 | 643.23 | 52.00 | 2123.33 | 88543.64 | 6207.61 | 14.26 | 1.00 | 4.00 | Semi-Arid Plateau |
| Tatvan | TUR_BT_Tatvan.172050_TMYx.2009-2023.epw | 38.483 | 42.300 | 1665.00 | 24.87 | 30.80 | 33.86 | 2.11 | 717.58 | 14.00 | 522.41 | 93956.86 | 2644.35 | 35.53 | 1.00 | 4.00 | Semi-Arid Plateau |
| Tekirdag | TUR_TG_Tekirdag.170560_TMYx.2009-2023.epw | 40.958 | 27.496 | 3.00 | 27.03 | 30.40 | 56.41 | 3.89 | 640.92 | 4.00 | 124.43 | 87785.69 | 1755.23 | 50.01 | 1.00 | 4.00 | Humid Black Sea |
| Tokat | TUR_TT_Tokat.170860_TMYx.2009-2023.epw | 40.331 | 36.558 | 608.00 | 27.87 | 36.00 | 44.93 | 2.94 | 585.83 | 150.00 | 6903.64 | 79874.03 | 16754.58 | 4.77 | 1.00 | 4.00 | Temperate Coastal |
| Trabzon.AP | TUR_TB_Trabzon.AP.170380_TMYx.2009-2023.epw | 40.995 | 39.783 | 31.70 | 25.32 | 28.00 | 72.18 | 3.28 | 523.26 | 0.00 | 0.00 | 71965.09 | 1472.00 | 48.89 | 1.00 | 4.00 | Humid Black Sea |
| Tunceli | TUR_TC_Tunceli.171650_TMYx.2009-2023.epw | 39.117 | 39.550 | 981.00 | 31.19 | 36.50 | 23.98 | 1.67 | 738.36 | 341.00 | 17402.27 | 94191.58 | 39772.74 | 2.37 | 1.00 | 4.00 | Hot–Dry Inland |
| Usak | TUR_US_Usak.171880_TMYx.2009-2023.epw | 38.683 | 29.400 | 919.00 | 28.36 | 35.00 | 28.38 | 4.61 | 679.39 | 197.00 | 8126.91 | 91544.26 | 19585.06 | 4.67 | 1.00 | 4.00 | Semi-Arid Plateau |
| Van.Feritmelen.AP | TUR_VA_Van.Feritmelen.AP.171700_TMYx.2009-2023.epw | 38.468 | 43.332 | 1670.30 | 24.75 | 28.77 | 32.94 | 3.67 | 714.43 | 0.00 | 0.00 | 94347.38 | 1472.00 | 64.09 | 1.00 | 4.00 | Semi-Arid Plateau |
| Yalova | TUR_YL_Yalova.171190_TMYx.2009-2023.epw | 40.667 | 29.283 | 4.00 | 27.18 | 31.90 | 62.35 | 2.05 | 618.20 | 36.00 | 1207.16 | 83938.73 | 4202.92 | 19.97 | 1.00 | 4.00 | Humid Black Sea |
| Yozgat | TUR_YZ_Yozgat.171400_TMYx.2009-2023.epw | 39.817 | 34.800 | 1298.00 | 24.77 | 31.52 | 35.12 | 2.20 | 640.36 | 31.00 | 1455.65 | 88257.37 | 4690.61 | 18.82 | 1.00 | 4.00 | Semi-Arid Plateau |
| Zonguldak | TUR_ZO_Zonguldak.170220_TMYx.2009-2023.epw | 41.450 | 31.779 | 137.00 | 24.45 | 28.20 | 70.91 | 2.30 | 626.06 | 0.00 | 0.00 | 86656.01 | 1472.00 | 58.87 | 1.00 | 4.00 | Humid Black Sea |

Data dictionary for Supplementary Table S1

| Variable | Description | Unit |
| --- | --- | --- |
| City / EPW station | City or weather-station label associated with the EPW file | – |
| EPW file | Name of the TMYx EPW weather file | – |
| Latitude / Longitude | Station coordinates | degrees |
| Altitude | Station elevation above sea level | m |
| Mean Ta | Mean summer daytime air temperature | °C |
| P95 Ta | 95th percentile summer daytime air temperature | °C |
| Mean RH | Mean summer daytime relative humidity | % |
| Mean wind speed | Mean summer daytime wind speed | m s⁻¹ |
| Mean GHI | Mean summer daytime global horizontal irradiance | W m⁻² |
| Misting duration | Total feasible misting hours satisfying adaptive control criteria | h |
| Water use | Total summer water consumption per module | L module⁻¹ |
| PV energy | Total summer PV energy generation per unit PV area | Wh m⁻² PV |
| Load energy | Total summer electrical demand of pump, controls, sensors, and standby load per module | Wh module⁻¹ |
| PV-to-load autonomy | Ratio of cumulative PV generation to cumulative electrical load | – |
| Battery capacity | Assumed usable battery capacity per module | kWh |
| Battery full-pump runtime | Equivalent full-power pump runtime from the battery | h |
| Climate archetype | Assigned climate archetype from k-means clustering | – |